Essentials

# Round 0: Initial samples (LHS.py)

HRP_1: seed 40 | LHS_log10_HRP_1

HRP_0.01: seed 41 | LHS_log10_HRP_0.01

HRP_0.0001: seed 42 | LHS_log10_HRP_0.0001

Round 0 Results: 05_05_LHS.xlsx

# Round 1: 1st BO round (ess_bo.py)

HRP_1: seed 42 | ESS_BO_1_HRP_1 (Warning)

HRP_0.01: seed 42 | ESS_BO_1_HRP_0.01

HRP_0.0001: seed 42 | ESS_BO_1_HRP_0.0001

Round 1 Results: BO1

# Round 2: 2nd BO round (ess_bo.py)

HRP_1: seed 42 | ESS_BO_2_HRP_1

HRP_0.01: seed 42 | ESS_BO_2_HRP_0.01

HRP_0.0001: seed 42 | ESS_BO_2_HRP_0.0001

Round 2 Results:

# ESS_BO Summary HRP = 0.0001

Round 0:

[TMB, H2O2] ~ [0.97, 0.0618] ~ 13871

Round 1:

[TMB, H2O2] ~ [1, 0.0442] ~ 19898 (+43.45%)

Round 2:

[TMB, H2O2] ~ [0.445, 0.0582] ~ 35584 (+78.83%)

[TMB, H2O2] ~ [0.679, 0.0215] ~ 34754 (+74.66%)

Additives

# Round 0: FULL_BO Initial samples

Singular Results:

Pairwise Results:

# Round 1: 1st BO round (flat_encoding.py)

HRP_1: seed 42 | ADD_BO_1_HRP_1

HRP_0.01: seed 42 | ADD_BO_1_HRP_0.01

HRP_0.0001: seed 42 | ADD_BO_1_HRP_0.0001

Round 1 Results:

HRP_1:

HRP_0.01:

HRP_0.0001:

# Round 1: 2nd BO round (flat_encoding.py)

HRP_1: seed 42 | ADD_BO_2_HRP_1

HRP_0.01: seed 42 | ADD_BO_2_HRP_0.01

HRP_0.0001: seed 42 | ADD_BO_2_HRP_0.0001

Round 2 Results:

HRP_1:

HRP_0.01:

HRP_0.0001: